## 1
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 2
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 3
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 4
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 5
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 6
6 | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 7
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 8
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 9
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 10
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 11
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 12
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 13
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 14
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 15
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 16
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 17
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 18
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 19
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 20
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 21
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 22
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 23
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 24
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 25
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 26
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 27
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 28
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 29
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 30
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00

## 31
Zesco Load Details | [12 empty] | DG Load Details | [17 empty] | Ground Floor | [41 empty] | First Floor |  |  |  |  | Second Floor | Load On | Shift Tech
[31 empty] | Inverter Readings | [25 empty] | Rectifier Readings | [7 empty] | Temperature in Centigrade | [11 empty] | Condition
Time | Load On Grid in AMPs |  |  | Grid Voltage Line to Line |  |  | Grid frequency | Grid Power Status ON/ OFF | Grid Off Time | Grid Restored Time | Grid off Duration | Site Load ( ZESCO Or Generator) in kw | Load On DG in AMPs |  |  | DG Voltage Line to Line |  |  | DG-1 Run Hrs | DG 1 Battery Voltage | Charged Status (Color) | DG-2 Run Hrs | DG 2 Battery Voltage | Charged Status (Color) | DG-3 Run Hrs | DG 3 Battery Voltage | Charged Status (Color) | DG-4 Run Hrs | DG 4 Battery Voltage | Charged Status (Color) | UPS1-POWER PLANT ROOM-1 | [12 empty] | UPS2-POWER PLANT ROOM-2 | [12 empty] | Rectifier 1 - Voltage / Amps |  |  | Used Percentage | Rectifier 2 - Voltage / Amps |  |  | Used Percentage | Room-1 Server & IT |  | Media Room |  | Power Room-1 |  | Power Room-2 |  | Room-1 |  | Room-2 |  | Work Station | FM 200 Panel / WDS/Vesda Status
| R | Y | B | R | Y | B | HZ | [5 empty] | R | Y | B | R | Y | B | [12 empty] | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | Output Load KW | Used Capacity | Battery Charge % | Battery Voltage (V) | Load Current-A ( A) | Load Current-B ( A) | Load Current-C ( A) | Load Phase -A % | Load Phase -B % | Load Phase -C % | Output Voltage-A ( V) | Output Voltage-B ( V) | Output Voltage-C ( V) | DC Volatge | Current | Battery charge status |  | DC Volatge | Current | Battery charge status |  | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum | Temp | Hum
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00